## Slide 1
0.1-Hz, Petawatt CPA Ti:sapphire Laser System
Potential Front-end System for Tens of PW Laser System
T.M. Jeong, J.H. Sung, S.K. Lee, T.J. Yu, and J. Lee
Advanced Photonics Research Institute, GIST

## Slide 2: Ultrashort Quantum Beam Facililty (UQBF) - Petawatt CPA Ti:sapphire Laser System - Interaction chambers for energetic particles and X-ray laser generations
Korean Ultra-intense Laser Facility
Main Research Building
International Hall

## Slide 3: Brief Review on UQBF Project
Project started
30 TW system installed
100 TW system installed
Facility construction completed
PW beamline I completed
2003
2004
2005
2006
2008
2010
PW beamline II completed
Operates as a
User Facility
2011
2012
Facility construction started
*UQBF-100TW
*UQBF-1PW/B1
*UQBF-1PW/B2

## Slide 4: Floor Plan of Research Building
Laser Laboratory
100 TW
laser-plasma
laboratory
PW
laser-plasma
laboratory
Electron
accelerator
laboratory
Facility Maintenance

## Slide 5: In the Laboratories, we have
Target Room
for Ultraintense Laser Pulse
Target Room
for intense Laser Pulse
Lab. for Electron Experiment
Lab. for Proton Experiment
Lab. for X-ray Laser Experiment
Depository and Preparatory
High-rep. rate Laser Lab.
High Energy Laser Lab.
PW Laser Lab.
Femtosecond Laser Oscillator
20fs/5mJ/1kHz laser system
40fs/30uJ/100kHz laser system
OPCPA laser system
(1 kHz, 1 mJ Regen. Amp.)

## Slide 6: Optical Layout of PW CPA Ti:sapphire Laser
Grating Stretcher
~ 0.5 ns
Multi-pass Amp. System 25fs/ 1mJ/ 1kHz
Pre-amplifier
1ns/ 50mJ/ 10Hz
1st Power Amp.
1ns/ 1.8J/ 10Hz
Oscillator
10fs/ 5nJ/ 75MHz
100TW Compressor
30fs/ 3J/ 10Hz
Booster Amp.
1ns/ 47J/ 0.1Hz
Grating Stretcher
1ns/ 0.4 mJ/ 1kHz
Booster Amp.
1ns/ 47J/ 0.1Hz
Nd:glass laser
12×8.5J/ 0.1Hz
Target
Chamber
2nd Power Amp.
1ns/ 4.5J/ 10Hz
PW Compressor
30fs/ 33J/ 0.1Hz
PW Compressor
30fs/ 33J/ 0.1Hz
Nd:glass laser
12×8.5J/ 0.1Hz
Nd:YLF laser
10mJ/ 1kHz
Nd:YAG laser
120mJ/ 10Hz
Nd:YAG laser
8×1J/ 10Hz
Nd:YAG laser
4×1J/ 10Hz
Beam line I
Beam line II
Under construction
100 TW laser system
PW beamlines

## Slide 7: UQBF – 100TW
Master
Oscillator
Stretcher
Regen. Amp.
Pre-Amp.
1st Main Amp.
2nd Main Amp.
Vacuum
Compressor
Pump Laser 2
Pump Laser 5
Pump Laser 4
Pump Laser 6
Pump Laser 3
Pump
Laser 1
Pump Laser 7
Pump Laser 9
Pump Laser 8
Pump Laser 10
Pump Laser 11
Pump Laser 12
Pump Laser 13
Pump Laser 14
4. Pre-Amp.: 4 pass, 45 mJ, 130-mJ pump at 10 Hz
5. 1st Amp.: 4 pass, 2 J with 5-J pump at 10 Hz
(30 TW with direct pulse compression)
1. Master Oscillator: 20 fs, 4.5 nJ
2. Stretcher: 340 ps
3. Regen. Amp.: 0.7 mJ with 10-mJ pump at 1 kHz
(10 Hz after pulse picker)
6. 2nd Amp: 3 pass, 5.6 J with 10-J pump at 10 Hz
7. Compressor: 3.6 J, 32 fs, >100 TW at 10 Hz
Green pump lasers
Pump Laser 1: Nd:YLF (SHG), 527 nm,
20 mJ at 1 kHz (JADE series)
Pump Laser 2: Nd:YAG (SHG), 532 nm,
200 mJ at 10 Hz (COMP series)
Pump Laser 3-14: Nd:YAG (SHG), 532 nm,
1.2 J at 10 Hz (SAGA series)
Modified version of a commercial 100 TW Ti:sapphire Laser
▪ Pulse duration : 32 – 35 fs
▪ Maximum output energy : 3.6 J
▪ Repetition rate : 10 Hz

## Slide 8
What we’ve done with UQBF-100TW
Ag
13.9 nm
32.8 nm
41.8 nm
Wavelength
Xe
Kr
Lasing Lines
Diffraction Imaging
with X-ray Laser
X-ray Laser
5 mm Channel
Maximum Electron Energy: 1.48 GeV
Plasma Channel
Spectrum (Electron)
Electron Beam
N. Hafz et al., APL (2007)
N. Hafz et al., Nat. Photonics (2008)
Selected Publications
Laser
Target
Protons
Carbon ions
included
Polymer 20 nm
0.5 MeV
1 MeV
C+
C2+
C3+
C4+
C5+
C6+
Spectrum (Proton)
Spectrum (Ion)
Proton Beam
8 MeV
Selected Publications
IW Choi et al., RSI (2009)
KH Pae et al., PoP (2009)
Selected Publications
HT Kim et al., PRA (2008)
CM Kim et al., PRL (2010)

## Slide 9
Single-shot Nanometer-scale Imaging Experiment
(Fourier transform X-ray Holography)
X-ray Laser Generation Chamber
100TW Laser Beam
Delivery and Control
Ongoing Experiments with UQBF-100TW (1)
First demonstration of X-ray holography
using X-ray laser
HT Kim et al., submitted to APL

## Slide 10
Undulator
Electron Acceleration
Chamber
100TW Laser Beam
Length : 500 mm
Outer Dia. : 70 mm
Inner Dia. : 6 mm
1-10 nm wavelength
Electron Acceleration and Circularized Polarized X-ray generation using Helical undulator
Magnet configuration
Wavelength (nm)
Electron beam energy (MeV)
Ongoing Experiments with UQBF-100TW (2)

## Slide 11: Optical Layout of PW CPA Ti:sapphire Laser
Grating Stretcher
~ 0.5 ns
Multi-pass Amp. System 25fs/ 1mJ/ 1kHz
Pre-amplifier
1ns/ 50mJ/ 10Hz
1st Power Amp.
1ns/ 1.8J/ 10Hz
Oscillator
10fs/ 5nJ/ 75MHz
100TW Compressor
30fs/ 3J/ 10Hz
Booster Amp.
1ns/ 47J/ 0.1Hz
Grating Stretcher
1ns/ 0.4 mJ/ 1kHz
Booster Amp.
1ns/ 47J/ 0.1Hz
Nd:glass laser
12×8.5J/ 0.1Hz
Target
Chamber
2nd Power Amp.
1ns/ 4.5J/ 10Hz
PW Compressor
30fs/ 33J/ 0.1Hz
PW Compressor
30fs/ 33J/ 0.1Hz
Nd:glass laser
12×8.5J/ 0.1Hz
Nd:YLF laser
10mJ/ 1kHz
Nd:YAG laser
120mJ/ 10Hz
Nd:YAG laser
8×1J/ 10Hz
Nd:YAG laser
4×1J/ 10Hz
Beam line I
Beam line II
Under construction
100 TW laser system
PW beamlines

## Slide 12
0.1-Hz Booster Ti:sapphire Amplifier
3 pass, 60-mm Dia.
Ein =
4.5 J (100 TW)
Eout = 47 J
25 J at 532 nm
25 J at 532 nm
25 J at 532 nm
25 J at 532 nm

## Slide 13
25 J green Nd:glass pump laser
Leg1
Leg2
Leg3
Frequency-doubled Nd:glass pump laser system
(3 legs X 8.5 J@532 nm = 25.5 J @532 nm)
Oscillator
Pre. Amp.
1st Amp.
2nd Amp.
16 or 19 mm beam diameter

## Slide 14
Spatial Profiles for all 12 pump beams
1st pump laser
2nd pump laser
3rd pump laser
4th pump laser
Leg #1
Leg #2
Leg #3

## Slide 15
Output Performances of pump laser
Pulse duration
Pointing stability
31 ns
Energy stability
<1.2 %(rms) for 8 hours
X-axis: 4.6 µrad, Y-axis: 5.7 µrad
▪ Small diameter
▪ Large number of beamlines
- make the laser system faster
- improve the beam profile
Advantages

## Slide 16
Fluorescence Image on Ti:sapphire Crystal
Total pump energy = 12 X 8 = 96 J, Pump beam diameter = 60 mm
Summing up the fluorescence images from 12 pump beams

## Slide 17
Design of Ti:sapphire Crystal Mount
Suppression of Parasitic Lasing
Pump beam
IR seed beam
Index matching fluid + Absorption dye
- Di-iodomethabe derivative for IMF
(nominal index = 1.76)
- HITC-iodide for Laser dye
Control of Time Delay
Precise Control of Time delay between Pump and IR seed beam

## Slide 18
Spectrum in the booster amplifier
Before amplification
After amplification
Gain narrowing
Spectral amplitude modulation
by AOPDF (Dazzler, Fastlite)

## Slide 19
Output Energy from Booster Amplifier
Experimental ( ) and calculated ( ) output energies (Frantz-Nodvic simulation)
Output energies measured at 0.1 Hz
Eave = 46.3 J (0.53% RMS)
47 J
96 J

## Slide 20
Spatial Beam Profile of Amplified Laser Pulse
Calculated intensity profile
(3D Frantz-Nodvic simulation)
Measured intensity profile
Calculated and Measured beam profiles show a very good similarity.

## Slide 21
Achromatic Beam Expander
f1 = 80 mm, f2 = 240 mm
R1 = 426.3 mm, R2 = R3 = 289.4 mm, R4 = Inf.
R5 = Inf., R6 = R7 = -816.1 mm, R8 = -1216 mm
d1 = 1, d2 = 5 mm
D1 = D5 = 100, D2 = 20 mm, D3 = 4050.6 mm, D4 = 45 mm
Simple Air-spaced SF6/BK7 beam expander
Focus shift vs wavelength
D4
D5
R1, R2, R3, R4
R5, R6, R7, R8
d1
d2
D1
D2
D3
1245 mm
Vacuum window
Ray fan vs wavelength
-1 um
1 um
-2 um
2 um
2 um
-2 um
60 mm
200 mm

## Slide 22
Four Gratings PW Compressor Chamber
Grating damage threshold
~150 mJ/cm2
Beam Diameter
200 mm
Grating groove : 1480/mm
Incidence angle : 50.1 deg.
1002 mm
565 mm

## Slide 23
Pulse duration of compressed laser pulse
Single Shot SPIDER technique used
DT = 30 fs
For a tranform-limited pulse :
DT = 25 fs
Measured spectrum and spectral phase
Reconstructed temporal profile
Intensity (A.U.)
Time delay (fs)

## Slide 24
Temporal contrast of PW laser pulse
Before Pumping in booster amplifier
After Pumping in booster amplifier

## Slide 25
Measured wavefront and Focusability
Wavefront height(in wavelength)
200 mm
200 mm
Measured wavefront after correction
Zernike decomposition
Focal spot
(calculated, SR=0.65)
(Not measured yet)

## Slide 26
0.1-Hz, 1-PW CPA Ti:sapphire Laser System
First demonstration of 1 PW laser pulse from all Ti:sapphire-based laser

## Slide 27
Beam Transport and PW Interaction Chamber
Long focal-length
mirror chamber
PW
target chamber
PW beam
switching
chamber
PW
pulse compressor
Construction was completed
(under test)
2.2 m in dia.
Optical layout
PW interaction chamber

## Slide 28
UQBF Members

## Slide 29
Summary
◆ UQBF-1PW/B1 is successfully installed.
  Maximum Output Energy : 47 J at 96 J pump energy
  33 J after pulse compression
  Minimum Pulse Duration : 30 fs
  Maximum repetition rate : 0.1 Hz (1 shot/10 seconds)
  Beam diameter : ~ 200 mm
  Pulse energy stability : 0.53% rms
  Wavefront aberration and focusability : < 0.65 um in rms (for WA), 0.65 (for SR)
  Beam pointing stability : To be measured
  Temporal contrast : should be improved for applications
  ◆ UQBF-1PW/B2 will be completed in early 2011.
  ◆ UQBF(-100TW, -1PW/B1, and -1PW/B2) is a user facility.
  Please contact us at leejm@gist.ac.kr (Prof. J Lee) or jeongtm@gist.ac.kr (Tae Moon
  Jeong) for more information.